## OVERVIEW
SMART HOME PROJECT
TESTING ZIGBEE TUYA DEVICE
PURPOSE:
1. TESTING OPERATING OF DEVICE BY APPS AND SWITCH
2. MESURING MAXIMUM CONTROL RANGE
3. CHECKING TUYA APPS HAVE CONSUMED POWER MESUREMENT OR NOT
TESTING DAY: FROM 12/20/2021 TO 12/21/2021
DEVICES USING:
Zigbee Gateway Module
1CH Zigbee Switch Module
2CH Zigbee Switch Module
Zigbee
Zigbee
TESTING REQUIREMENTS:
1. Using supply voltage 220 VAC - 50 Hz for all device
2. There are no interfering sources around testing place
3. Only care about DOR (Duration Of Response) of devices (or loads)
4. DOR of devices (loads) must less than 0.5s

## TESTING
1. Testing on room/office/buiding environment by apps Tuya
a. Testing rules:
- Turn On/Off devices slowly 10 times
- Turn On/Off devices quickly (1 time per second) 10 times
b. Testing diagram position
c. Testing result
POSITION |  | GATEWAY
|  | A | B | C | D | E
DEVICE | 1 | OK | OK | OK | OK | OK
| 2 | OK | - Connect and reconnect time is too long (> 1 minute) - Communication is not stable | OK | OK | OK
| 3 | OK | - Connect and reconnect time is too long (> 1 minute) - Communication is not stable | - Connect and reconnect time is too long (> 1 minute) - Communication is not stable | OK | - Connect and reconnect time is too long (> 1 minute) - Communication is not stable
| 4 | Delay 5s (1 time) | - Connect and reconnect time is too long (> 1 minute) - Communication is not stable - Delay 5s (1 time) - Delay 3s (1 time) | - Connect and reconnect time is too long (> 1 minute) - Communication is not stable | OK | - Connect and reconnect time is too long (> 1 minute) - Communication is not stable
| 5 | Delay 2s (1 time) | OK | OK | OK | OK
2. Testing by switch
a. Testing rules:
- Turn On/Off devices slowly 10 times
- Turn On/Off devices quickly (2 times per second) 10 times
c. Testing result
OK
3. Testing maximum range between gateway and device
a. Testing rules:
- Turn On/Off devices slowly 10 times
- Turn On/Off devices quickly (1 time per second) 10 times
b. Testing environment
- Spacious environment
c. Testing result
- Maximum distance: 70m
4. Is there Consumed Power Task on Tuya apps?
No
TESTING ZIGBEE TUYA DEVICE